Site Inspection Report

The east elevation was photographed on arrival. Cladding is sound; two sealant joints have failed at the parapet.

Findings

Item

Condition

Parapet sealant

Failed

Cladding panels

Sound

Recommendation

Re-seal the parapet joints before the winter. No structural work is required at this stage.

Prepared by the surveying team & countersigned.